STATE ELECTRICITY TRANSMISSION CORPORATION

TECHNICAL SPECIFICATION FOR POWER DISTRIBUTION CABLES

Requirement: Procure XLPE insulated thermoplastic sheathed power cables for working voltages up to and including 1100V.

Conductor: Stranded compacted circular aluminum conductor conforming to Indian standard guidelines.

Insulation: Cross-linked polyethylene (XLPE) insulation suitable for 90 deg C continuous operating temperature.

Armouring: Galvanized steel wire and strip armouring for underground burial and mechanical protection.

Outer Sheath: Heavy duty extruded polyvinyl chloride PVC outer sheath.

| Item | Parameter Value |
| --- | --- |
| Voltage Grade | 1.1 kV (1100V) |
| Conductor Material | Aluminum |
| Insulation Type | XLPE |